## Well CBA
A Well Construction Cost-Benefit Analysis (CBA): For Water Supply Well Guidelines for use in Developing Countries
Jaynie Whinnery, October 5, 2012
The purpose of this spreadsheet is to document an economic CBA for well construction alternatives. The goal is to illuminate the value of proper construction methods and operation and maintenance planning. There is an accompanying document that provides more detailed explanations regarding terminology, assumptions, and calculations. Note that orange highlighted cells are meant to be easy to modify for project differences without changing the methodology.
| The accompanying document for this CBA can be found via the following link: |  |  |  | http://www.seidc.com/pdf/Hydrophilanthropy_Well_Guidelines.pdf
|  | # of Wells | # of Users per Well (Reed, 2005, p. 3; WHO, 2004, p. 16) | Total # of Users | Lifespan of Properly Constructed Well with O&M (years) (Cameron et al., 2011, p. 157) | Lifespan of Inferiorly Constructed Well with O&M (years) RWSN (2012) | Percentage of Lifespan for a Well without O&M | Lifespan of Properly Constructed Well without O&M (years) | Lifespan of Inferiorly Constructed Well without O&M (years)
|  | 1 | 250 | 250 | 20 | 5 | 20% | 4 | 1
CBA Project Alternatives: |  | Proper Construction; With O&M | Inferior Construction; With O&M | Proper Construction; No O&M | Inferior Construction; No O&M | Inferior Construction; With O&M; Local GW Quality Compromised, Treatment Provided | Inferior Construction; With O&M; Local GW Quality Compromised, No Treatment | Inferior Construction; No O&M; Local GW Quality Compromised, Treatment Provided | Inferior Construction; No O&M; Local GW Quality Compromised, No Treatment | Reference(s)
Costs | Descriptions | Well Value Estimates
Capital Charges | well construction & development | 11850 | 8887.5 | 11850 | 8887.5 | 8887.5 | 8887.5 | 8887.5 | 8887.5 | Doyen (2003), inflation adjusted | Well Construction Environmental Externalities
| pump components & installation | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | EWB-OSU (2012) | Cement | Steel | PVC | Fuel | Water | GW Contamination
O&M Cost | PDV, assumes 10% pump cost as proxy for annual O&M cost | 2578.2838 | 669.0777 | 0 | 0 | 669.0777 | 669.0777 | 0 | 0 | (Cameron et al., 2011, p. 157) | 500 kg cement per well (based on 10"x6" annular seal to 5 meters and standard well pad) | 100 kg steel per well (related to pump, pump rod, and hand operating mechanism) | 100 kg PVC per well (for casing and riser pipe) | 200 liters of gasoline per well (for transportation and drilling rig, pump, etc.) | 1000 liters water used per well (for drilling, clean up, flush, mix cement, etc.) | Assume 10 liters per user per day need to be treated (Reed, 2005): 10*365 = 3,650 liters per user per year
Opportunity Cost | time spent for training (1 day per beneficiary) | 1178.0822 | 1178.0822 | 1178.0822 | 1178.0822 | 1178.0822 | 1178.0822 | 1178.0822 | 1178.0822 | assumption; World Bank (2012) | 1100 kg CO2 per 1000 kg cement (US EPA, 2005) | 0.50 kg CO2 per kg steel (Worrell et. al, 1999, p. 3; units converted to kg) | 2.16 kg CO2 per kg PVC (UPC, 2009, p. 57) | 2.4 kg CO2 per liter of gasoline (NRC, 2009) | 1000 liters = 1 cubic meter | 1000 liters = 1 cubic meter
Economic Externalities | negative economic impacts | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | $36.77 per 1000 kg of CO2 (US DOE, 2010; inflation adjusted) | $36.77 per 1000 kg of CO2 (US DOE, 2010; inflation adjusted) | $36.77 per 1000 kg of CO2 (US DOE, 2010; inflation adjusted) | $36.77 per 1000 kg of CO2 (US DOE, 2010; inflation adjusted) | $0.70 per cubic meter (Rogers et. al, 1998, p. 17; inflation adjusted) | $0.70 per cubic meter (Rogers et. al, 1998, p. 17; inflation adjusted)
Environmental Externalities | negative environmental impacts | 48.3539 | 48.3539 | 48.3539 | 48.3539 | 753310.0051 | 48.3539 | 159735.8539 | 48.3539 | various (see Well Construction Environmental Externalities) | 20.2235 | 1.8385 | 7.9423 | 17.6496 | 0.7 | 638.75
Total PDV Costs |  | 17454.72 | 12583.0138 | 14876.4361 | 11913.9361 | 765844.665 | 12583.0138 | 171601.4361 | 11913.9361 | sum of costs | per well constructed | per well constructed | per well constructed | per well constructed | per well constructed | per user per year
CBA Project Alternatives: |  | Proper Construction; With O&M | Inferior Construction; With O&M | Proper Construction; No O&M | Inferior Construction; No O&M | Inferior Construction; With O&M; Local GW Quality Compromised, Treatment Provided | Inferior Construction; With O&M; Local GW Quality Compromised, No Treatment | Inferior Construction; No O&M; Local GW Quality Compromised, Treatment Provided | Inferior Construction; No O&M; Local GW Quality Compromised, No Treatment | Reference(s)
Benefits | Descriptions | Well Value Estimates
Value to Users of Water | PDV of Value to Users of Water | 658923.3616 | 202835.2313 | 164630.2883 | 43000 | 202835.2313 | 0 | 43000 | 0 | (Cameron et al., 2011, p. 42); World Bank (2012) | Metric | US | Kenya | Source
Net Benefits from Return Flows | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | GNI/capita, PPP adjusted | 48890 | 1720 | World Bank, 2012
Net Benefits from Indirect Uses | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | Value of a Statistical Life (VSL) | 8914553 | 313623.055 | Viscusi & Aldy, 2002, p. 67, inflation adjusted
Adjustment for Societal Objectives | PDV of DALYs Averted | 11727.8463 | 3610.1625 | 2930.1719 | 765.3354 | 3610.1625 | 0 | 765.3354 | 0 | various (see DALY Morbidity & DALY Mortality) | DALY equivalent for a premature death, on average | 36 | 36 | WHO, 2012
Intrinsic Value | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | Value per DALY | 247626.4722 | 8711.7515
Total PDV Benefits |  | 670651.2079 | 206445.3938 | 167560.4602 | 43765.3354 | 206445.3938 | 0 | 43765.3354 | 0 | sum of benefits
CBA Results |  | Well Value Estimates | [8 empty] | DALY Morbidity |  | DALY Mortality
NPV |  | 653196.488 | 193862.38 | 152684.0241 | 31851.3993 | -559399.2712 | -12583.0138 | -127836.1007 | -11913.9361 |  | avg annual diarrhea cases per person in East Africa (Hutton, et. al, 2007, p. 490) | 1.3 | proportion of lives lost to diarrhea each year in Kenya (WHO, 2004) | 0.000781
Benefit/Cost Ratio |  | 38.4223 | 16.4067 | 11.2635 | 3.6735 | 0.26957 | 0 | 0.25504 | 0 |  | days lost per case of diarrhea (Cameron et. al, 2011, p. 22) | 3 | reduction in diarrhea due to intervention (Fewtrell et. al, 2005, p. 49) | 19%
Default NPV |  | 653196.488 | 193862.38 | 152684.0241 | 31851.3993 | -559399.2712 | -12583.0138 | -127836.1007 | -11913.9361 |  | disability weight (Pruss et. al, 2002, p. 542) | 10%
For Sensitivity Analysis: Percent Change in NPV Due to Changes Made |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% |  | DALYs averted each year | 0.050753 | DALYs averted each year | 0.037097
[11 empty] | Value of DALYs averted each year | 442.1512 | Value of DALYs averted each year | 323.1842
Assumptions for PDV Calculations: | PDV Discount Rate (Cameron et al., 2011, p. 21) | Income Used for Water (Cameron et al., 2011, p. 42) | Year | PDV O&M | PDV GW Contamination | PDV Value to Users of Water | PDV DALYs Averted
| 3% | 10% | 0 | n/a | 638.75 | 43000 | 765.3354
|  |  | 1 | 174.7573 | 620.1456 | 41747.5728 | 743.0441
|  |  | 2 | 169.6673 | 602.0831 | 40531.6241 | 721.402
|  |  | 3 | 164.7255 | 584.5467 | 39351.0914 | 700.3903
|  |  | 4 | 159.9277 | 567.5211 | 38204.9431 | 679.9906
|  |  | 5 | 155.2696 | 550.9914 | 37092.1777 | 660.1851
|  |  | 6 | 150.7472 | 534.9431 | 36011.823 | 640.9564
|  |  | 7 | 146.3565 | 519.3622 | 34962.935 | 622.2877
|  |  | 8 | 142.0937 | 504.2351 | 33944.5971 | 604.1629
|  |  | 9 | 137.955 | 489.5487 | 32955.9195 | 586.5659
|  |  | 10 | 133.9369 | 475.29 | 31996.0383 | 569.4814
|  |  | 11 | 130.0358 | 461.4466 | 31064.1149 | 552.8946
|  |  | 12 | 126.2484 | 448.0064 | 30159.3348 | 536.7909
|  |  | 13 | 122.5712 | 434.9577 | 29280.9076 | 521.1562
|  |  | 14 | 119.0012 | 422.289 | 28428.0657 | 505.9769
|  |  | 15 | 115.5352 | 409.9893 | 27600.0637 | 491.2397
|  |  | 16 | 112.17 | 398.0479 | 26796.1784 | 476.9317
|  |  | 17 | 108.903 | 386.4543 | 26015.7072 | 463.0405
|  |  | 18 | 105.731 | 375.1983 | 25257.9681 | 449.5539
|  |  | 19 | 102.6515 | 364.2702 | 24522.2992 | 436.4601
Note on R16: Because this is an annual expense a PDV must be calculated

## Definitions
Term | Definition/Description
Cost Benefit Analysis (CBA) | A tool to compare economic costs and benefits of different policy and project alternatives.
GNI per capita, PPP | Literally, Gross National Income per capita based on Purchasing Power Parity. According to the World Bank (2012), "GNI is the sum of value added by all resident producers plus any product taxes not included in the valuation of output plus net receipts of primary income from abroad." Purchasing Power Parity is used to allow comparisons of monetary values across currencies. This metric can be used as a proxy for average individual income.
Present Discounted Value (PDV) | This is a term that mean that a value reflects the time value of money (i.e. interest). Planned future costs or benefits must then be 'discounted' to be represented as a present day value.
Net Present Value (NPV) | Present Value of Benefits minus Present Value of Costs is equal to the Net Present Value.
Value of a Statistical Life (VSL) | VSL is a market-based estimate for the average economic loss due to the death of one person.
Disability-Adjusted Life year (DALY) | According to the World Health Organization (2012), DALYs are "the sum of years of potential life lost due to premature mortality and the years of productive life lost due to disability."
Morbidity | "The relative incidence of disease" (merriam-webster.com); can also be thought of the extent of disability due to an illness
Mortality | "The number of deaths in a given time or place" (merriam-webster.com)
Potential Costs (Rogers et al., 1998)
Capital Charges | These include the up-front costs for the project and may or may not incorporate depreciation.
O&M Cost | These are the operation and maintenance costs for running the system. Examples include electricity, labor and materials, and management.
Opportunity Cost | This accounts for the fact that resources dedicated to the project under consideration could be used for something else. One example is use of water for one purpose that detracts from another use (water for drinking reduces the amount available for agriculture). Another example is uncompensated time spent on the project by beneficiaries when they could otherwise be earning an income. It can also be referred to as the social marginal cost.
Economic Externalities | Externalities are costs that are not otherwise accounted for. Economic Externalities are those which directly impact the economy, such as an upstream diversion that limits access to water for a downstream business. Note that externalities can be positive or negative.
Environmental Externalities | Externalities are costs that are not otherwise accounted for. Environmental externalities are those which affect public health and/or ecosystems. Note that externalities can be positive or negative.
Potential Benefits (Rogers et al., 1998)
Value to Users of Water | This is what the water is worth to the project beneficiaries.
Net Benefits From Return Flows | Return flows are water that is diverted back into the hydrologic system, such as irrigation water that recharges groundwater.
Net Benefits from Indirect Uses | These are secondary benefits that are not the primary objective of the project, such as livestock use of an irrigation system.
Adjustment for Societal Objectives | These are gains to society beyond the value to users of water. Examples are poverty alleviation, public health, employment, and food security.
Intrinsic Value | These include non-use based value, such as the desire for aesthetically pleasing water views or environmental stewardship.